2024 Annual Drinking Water Quality Report

For Ash Township and the Village of Carleton

March 31, 2025

We are pleased to present to you this year’s Annual Quality Water Report.  This report is designed to inform you about the quality of water and the services we provide to you every day.  Our constant goal is to provide you with a safe and dependable supply of drinking water.  We want you to understand the efforts we make to continually improve the water treatment process and protect our water resources.  We are committed to ensuring the quality of your water.

Drinking water quality is important to our community and the region.  Ash Township and the Great Lakes Water Authority (GLWA) are committed to meeting state and federal water quality standards including the Lead and Copper Rule.  With the Great Lakes as our water source and proven treatment technologies, the GLWA consistently delivers safe drinking water to our community.  Ash Township operates the system of water mains that carry this water to your home’s service line.  This year’s Water Quality Report highlights the performance of GLWA and Ash Township’s water professionals in delivering some of the nation’s best drinking water.  Together, we remain committed to protecting public health and maintaining open communication with the public about our drinking water.

Your source of water comes from the Detroit River, situated within the Lake St. Clair, Clinton River, Detroit River, Rouge River, Ecorse River, watersheds in the U.S. and parts of the Thames River, Little River, Turkey Creek and Sydenham watersheds in Canada.  The Michigan Department of Environmental Quality in partnership with the U.S. Geological Survey, the Detroit Water and Sewerage Department, and the Michigan Public Health Institute performed a source water assessment in 2004 to determine the susceptibility of GLWA’s Detroit River source water for potential contamination.  The susceptibility rating is based on a seven-tiered scale and ranges from very low to very high determined primarily using geologic sensitivity, water chemistry, and potential contaminant sources.  The report described GLWA’s Detroit River intakes as highly susceptible to potential contamination.  However, all four GLWA water treatment plants that service the city of Detroit and draw water from the Detroit River have historically provided satisfactory treatment and meet drinking water standards.

GLWA has initiated source-water protection activities that include chemical containment, spill response, and a mercury reduction program.  GLWA participates in a National Pollutant Discharge Elimination System permit discharge program and has an emergency response management plan.  GLWA has an updated Surface Water Intake Protection plan for the Fighting Island Intake.  The plan delineation of a source water protection areas, identification of potential sources of contamination, management approaches for protection, contingency plans, siting of new water sources, public participation, and public education activities.  If you would like to know more information about the Source Water Assessment Report, please contact GLWA at (313) 926-8127.

I’m pleased to report that our drinking water is safe and meets or exceeds federal and state requirements.  In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems.  FDA regulations establish limits for contaminants in bottled water, which must provide the same protection for public health.

Great Lakes Water Authority routinely monitors for contaminants in Ash Township’s drinking water according to federal and state laws.  The table provided shows the results of our monitoring for the period of January 1st to December 31st, 2024.  The State allows us to monitor for certain contaminants less than once per year because the concentration of these contaminants are not expected to vary significantly from year to year.  All of the data is representative of the water quality, but some are more than one year old.

Some people may be more vulnerable to contaminants in drinking water than is the general population.  Immuno-compromised persons, such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections.  These people should seek advice about drinking water from their health care providers.  EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

Lead can cause serious health effects in people of all ages, especially pregnant people, infants (both formula-fed and breastfed), and young children. Lead in drinking water is primarily from materials and parts used in service lines and in home plumbing. Ash Township is responsible for providing high quality drinking water and removing lead pipes but cannot control the variety of materials used in the plumbing in your home. Because lead levels may vary over time, lead exposure is possible even when your tap sampling results do no detect lead at one point in time. You can help protect yourself and your family by identifying and removing lead materials within your home plumbing and take steps to reduce your family’s risk. Using a filter, certified by an American National Standards Institute accredited certifier to reduce lead, is effective in reducing lead exposures. Follow the instructions provided with the filter to ensure the filter is used properly. Use only cold water for drinking, cooking, and making baby formula. Boiling water does not remove lead from water. Before using tap water for drinking, cooking, or making baby formula, flush your pipes for several minutes. You can do this by running your tap, taking a shower, doing laundry, or a load of dishes. If you have a lead service line or galvanized requiring replacement service line, you may need to flush your pipes for at least 5 minutes to flush water from both your home plumbing and the lead service line. If you are concerned about lead in your water and wish to have your water tested, contact Ash Township Water Department (734)654-6992 ext. 7 for available resources. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available at http://www.epa.gov/safewater/lead/.

There is no safe level of lead in drinking water. Exposure to lead can cause serious health effects in all age groups. Infants and children can have decreases in IQ and attention span. Lead exposure can lead to new learning and behavior problems or exacerbate existing learning and behavior problems. The children of persons who are exposed to lead before or during pregnancy can have increased risks of heart disease, high blood pressure, kidney, or nervous system problems.

Safe drinking water is a shared responsibility.  The water that GLWA delivers to our community does not contain lead.  Lead can leach into drinking water through home plumbing fixtures, and in some cases, customer service lines.  Corrosion control reduces the risk of lead and copper from leaching into your water.  Orthophosphates are added during the treatment process as a corrosion control method to create a protective coating in service pipes throughout the system, including in your home or business.  Ash Township performs required lead and copper sampling and testing in our community.  Water consumers also have a responsibility to maintain the plumbing in their homes and businesses, and can take steps to limit their exposure to lead.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline (800-426-4791.)

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

- Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

- Inorganic contaminants, such as salts and metals, which can be naturally occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

- Pesticides and herbicides, which may come from a variety of sources such as agricultural, urban storm water runoff, and residential uses.

- Organic chemical contaminants, including synthetic and volatile organics, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems.

- Radioactive contaminants, which can be naturally occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, EPA prescribes regulations, which limit the amount of certain contaminants in water provided by public water systems.  The Food and Drug Administration (FDA) regulations establish limits for contaminants in bottled water, which must provide the same protection for public health.

- 2024 Southwest Regulated Detected Contaminants Table

| 2024 Inorganic Chemicals - Annual Monitoring at Plant Finished Tap |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Regulated Contaminant | Test Date | Unit | Health Goal MCLG | Allowed Level MCL | Highest Level Detected | Range of Detection | Violation | Major Sources in Drinking Water |
| Fluoride | 02-13-2024 | ppm | 4 | 4 | 0.66 | n/a | no | Erosion of natural deposit; Water additive, which promotes strong teeth; Discharge from fertilizer and aluminum factories. |
| Nitrate | 02-13-2024 | ppm | 10 | 10 | 0.31 | n/a | no | Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits. |

| Lead and Copper Monitoring at the Customer’s Tap in 2024 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Regulated Contaminant | Unit | Year Sampled | Health Goal MCLG | Action Level AL | 90th Percentile Value* | Range of Individual Samples Results | Number of Samples Over AL | Major Sources in Drinking Water |
| - Lead | ppb | 2024 | 0 | 15 | 2 ppb | 0-2 ppb | 0 | Lead services lines, corrosion of household plumbing including fittings and fixtures; erosion of natural deposits. |
| - Copper | ppm | 2024 | 1.3 | 1.3 | 0.2 ppm | 0-0.3 ppm | 0 | Corrosion of household plumbing systems; Erosion of natural deposits. |
| * The 90th percentile value means 90 percent of the homes tested have lead and copper levels below the given 90th percentile value. If the 90th percentile value is above the AL additional requirements must be met. |  |  |  |  |  |  |  |  |

- The number of lead service lines – 29

- The number of service lines of unknown material – 71

- The total number of service lines in the supply - 2315

| 2024 Disinfection Residual - Monitoring in the Distribution System |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Regulated Contaminant | Test Date | Unit | Health Goal MRDLG | Allowed Level MRDL | Highest Level RAA | Range of Quarterly Results | Violation | Major Sources in Drinking Water |
| Total Chlorine Residual | 2024 | ppm | 4 | 4 | 0.70 | 0.52-0.80 | no | Water additive used to control microbes |

| 2024 Disinfection By-Products - Stage 2 Disinfection By-Products Monitoring in the Distribution System |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - Regulated - Contaminant | Test Date | Unit | Health Goal MCLG | Allowed Level MCL | Highest Level LRAA | Range of Quarterly Results | Violation | Major Sources in Drinking Water |
| Total Trihalomethanes (TTHM) | 2024 | ppb | n/a | 80 | 50 | 24-65 | no | By-product of drinking water chlorination |
| Haloacetic Acids (HAA5) | 2024 | ppb | n/a | 60 | 14 | 11-28 | no | By-product of drinking water chlorination |

| 2024 Turbidity - Monitored Every 4 Hours at the Plant Finished Water Tap |  |  |  |
| --- | --- | --- | --- |
| Highest Single Measurement Cannot Exceed 1 NTU | Lowest Monthly % of Samples Meeting Turbidity Limit of 0.3 NTU (minimum 95%) | Violation | Major Sources in Drinking Water |
| 0.1 NTU | 100% | no | Soil Runoff |
| Turbidity is a measure of the cloudiness of the water. We monitor it because it is a good indicator of the effectiveness of our filtration system |  |  |  |

| Regulated Contaminant | Treatment Technique | Typical Source of Contaminant |
| --- | --- | --- |
| Total Organic Carbon ppm | The Total Organic Carbon (TOC) removal ratio is calculated as the ratio between the actual TOC removal and the TOC removal requirements. The TOC is measured each quarter and because the level is low, there is no requirement for TOC removal. | Erosion of natural deposits |

| 2024 Special Monitoring |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Contaminant | Test Date | Unit | MCLG | MCL | Highest Level Detected | Source of Contaminant |
| Sodium | - 02-13-2024 | ppm | n/a | n/a | 5.2 | Erosion of natural deposits |

These tables are based on tests conducted by GLWA in the year 2024 or the most recent testing done within the last five calendar years. GLWA conducts tests throughout the year only tests that show the presence of a substance or require special monitoring are presented in these tables. The State allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants are not expected to vary significantly from year to year. The data is representative of the water quality, but some are more than one year old.

- About Unregulated Contaminant Monitoring

Unregulated contaminants are those for which EPA has not established drinking water standards. Monitoring helps EPA to determine where these contaminants occur and whether it needs to regulate those contaminants.

| 2019 Unregulated Contaminants - Monitored at the Plant Finished Tap |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Unregulated Contaminant | Test Date | Unit | Highest Level of Detection | SMCL | Range of Detection | Noticeable Effects Above the SMCL | Source of Contaminant |
| Manganese | 2019 | Ppb | 0.48 | 50 | 0.0-0.48 | black to brown color; black staining; bitter metallic taste | Erosion of natural deposits and corrosion of iron pipes |

Great Lakes Water Authority (GLWA) is required to notify water users of any unresolved significant deficiencies identified by the Michigan Department of Environment, Great Lakes, and Energy, Drinking Water and Environment Health Division (EGLE).  Below is the status of significant deficiencies in the GLWA water system identified by EGLE:

| Date Identified by EGLE | Description | Compliance Agreement Deadline | Status |
| --- | --- | --- | --- |
| 08-02-2022 | Improper rapid mixing and coagulant feed location at the Southwest water plant | 12-31-2027 | Contractor is in place and the work has been initiated. |
| 08-02-2022 | Inoperable flocculation equipment at the Southwest water plant | 07-31-2031 | Review stage of procurement process. |

| 2024 Southwest Tap Water Mineral Analysis |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Parameter | Units | Max. | Min. | Avg. |  | Parameter | Units | Max. | Min. | Avg. |
| Turbidity | NTU | 1.50 | 0.05 | 0.27 |  | Phosphorus | ppm | 0.61 | 0.38 | 0.47 |
| Total Solids | Ppm | 158 | 125 | 140 |  | Free Carbon Dioxide | ppm | 18.1 | 6.6 | 9.6 |
| Total Dissolved Solids | Ppm | 153 | 101 | 126 |  | Total Hardness | ppm | 114 | 90 | 102 |
| Aluminum | Ppm | 0.118 | 0.023 | 0.054 |  | Total Alkalinity | ppm | 76 | 64 | 70 |
| Iron | Ppm | 0.4 | 0.2 | 0.2 |  | Carbonate Alkalinity | ppm | 10 | 0 | 1 |
| Copper | Ppm | 0.032 | ND | 0.004 |  | Bi-Carbonate Alkalinity | ppm | 76 | 46 | 68 |
| Magnesium | Ppm | 8.2 | 7.5 | 7.8 |  | Non-Carbonate Hardness | ppm | 48 | 18 | 32 |
| Calcium | Ppm | 29.3 | 23.3 | 27.2 |  | Chemical Oxygen Demand | ppm | 8.7 | ND | 4.2 |
| Sodium | Ppm | 6.1 | .05 | 4.6 |  | Dissolved Oxygen | ppm | 16.9 | 8.4 | 11.4 |
| Potassium | Ppm | 1.2 | 1.0 | 1.1 |  | Nitrite Nitrogen | ppm | ND | ND | 0.0 |
| Manganese | Ppm | 0.002 | ND | 0.000 |  | Nitrate Nitrogen | ppm | 0.48 | 0.17 | 0.29 |
| Lead | Ppm | ND | ND | 0.000 |  | Fluoride | ppm | 0.82 | 0.39 | 0.68 |
| Zinc | Ppm | 0.002 | ND | 0.000 |  | pH |  | 7.34 | 6.85 | 7.17 |
| Silica | Ppm | 3.6 | 1.5 | 2.2 |  | Specific Conductance @ 25 °C | μmhos | 231 | 151 | 199 |
| Sulfate | Ppm | 38.3 | 24.1 | 30.5 |  | Temperature | °C | 22.6 | 2.9 | 13.5 |
| Chloride | Ppm | 12.2 | 8.8 | 10.4 |  |  |  |  |  |  |

Thank you for allowing us to continue providing your family with clean, quality water this year.  In order to maintain a safe and dependable water supply we sometimes need to make improvements that will benefit all of our customers.  These improvements are sometimes reflected as rate structure adjustments.  Thank you for understanding.

If you have any questions about this report or concerning your water utility, please contact Matt Baker, Ash Township Water Manager (734) 654-6992 ext.7.  We want our valued customers to be informed about their water utility.  If you want to learn more, please attend any of our regularly scheduled meetings.  They are held every month on the third Wednesday at 1677 Ready Road, Carleton, MI at 5:30 p.m.

Ash Township and the Great Lakes Water Authority are committed to safeguarding our water supply and delivering the highest quality drinking water to protect public health.  Please contact us with any questions or concerns about your water.

Copies of this report are available at Ash Township Office, 1677 Ready Road, Carleton, MI  48117, or www.ashtownship.org. Copies of this report will not be mailed.

Key to the Detected Contaminants Table

| Symbol | Abbreviation | Definition/Explanation |
| --- | --- | --- |
| AL | Action Level | The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow. |
| °C | Celsius | A scale of temperature in which water freezes at 0° and boils at 100° under standard conditions. |
| > | Greater than |  |
| HAA5 | Haloacetic Acids | HAA5 is the total of bromoacetic, chloroacetic, di-bromoacetic, dichloroacetic, and trichloroacetic acids. Compliance is based on the total. |
| Level 1 | Level 1 Assessment | A study of the water system to identify potential problems and determine (if possible) why total coliform bacteria have been found in our system. |
| LRAA | Locational Running Annual Average | The average of analytical results for samples at a particular monitoring location during the previous four quarters. |
| MCL | Maximum Contaminant Level | The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology. |
| MCLG | Maximum Contaminant Level Goal | The level of contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow a margin of safety. |
| MRDL | Maximum Residual Disinfectant Level | The highest level of disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants. |
| MRDLG | Maximum Residual Disinfectant Level Goal | The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLG’s do not reflect the benefits of the use of disinfectants to control microbial contaminants. |
| n/a | not applicable |  |
| ND | Not Detected |  |
| NTU | Nephelometric Turbidity Units | Measures the cloudiness of water. |
| pCi/L | Picocuries Per Liter | A measure of radioactivity |
| ppb | Parts Per Billion (one in one billion) | The ppb is equivalent to micrograms per liter. A microgram = 1/1000 milligram. |
| ppm | Parts Per Million (one in one million) | The ppm is equivalent to milligrams per liter. A milligram = 1/1000 gram. |
| RAA | Running Annual Average | The average of all analytical results for all samples during the previous four quarters. |
| SMCL | Secondary Maximum Contaminant Level |  |
| TT | Treatment Technique | A required process intended to reduce the level of a contaminant in drinking water. |
| TTHM | Total Trihalomethanes | Total Trihalomethanes is the sum of chloroform, bromodichloromethane, dibromochloromethane and bromoform. Compliance is based on the total. |
| μmhos | Micromhos | Measure of electrical conductance of water |